# FIRE SAFETY POLICY

September 2022

Updated September 2023

Review date: November 2024

Signed : L.Reynolds on behalf of the governors

Any building can quickly become dangerous unless there is some foresight and care in its day- to-day use. Only the occupants can ensure that the building continues to be

safe, and it is they who must know what to do if there should be a fire.

- FIRE DRILL notices are displayed prominently in every room. Teachers are responsible for notifying the Headteacher if the notice in their classroom or any other room that they may use has for whatever reason been removed and keep notifying the Headteacher until the notice is replaced. Teachers are also expected to check from time to time that the information is understood by their pupils. Besides knowing the procedure for a class to leave a room under the charge of a teacher, pupils should be taught how to raise the alarm themselves and how to plan for their own escape from a building should they find themselves alone or unsupervised when the alarm sounds.

- It is the responsibility of the Headteacher to check that Fire Drill notices are prominently displayed in every room.

- Fire Fighting Equipment is inspected annually by a contractor appointed by the DBE.

- FIRE EXIT doors must never be locked, bolted or obstructed while the room is in use.

- Exit doors and door furniture must be kept in good repair and tested for smooth operation regularly. Faults should be reported in the usual way. All doors must be kept free of obstruction as must the approaches to them.

- Internal FIRE DOORS should, where possible, be kept closed. They must not be hooked or wedged open.

- Rubbish and combustible waste should not be allowed to accumulate. Teachers are responsible for checking their own classrooms and store rooms.  The site supervisor is responsible for waste collection each day.

- FIRE PRACTICE will be held once each term. Arrangements for practices will be made by the Headteacher. Notice will be given prior to the first practice of each new academic year but not for subsequent practices.

- FIRE ALARMS will be tested each week by G Wilson the site supervisor.

- The FIRE BRIGADE are automatically called immediately to any fire, however small. The call will usually be made by the Office staff. It is the responsibility of the most senior member of staff on duty at the time to check that this has been done.

- A teacher's first and overriding duty in case of fire is to look after the children near to them at the time and to raise the alarm. No attempt should be made to fight the fire.

- The duty of a fire warden ( L.Reynolds, Mrs Manzoor or Mrs Brown)  in the event of a fire is to support the evacuation of children from toilet and communal areas.

- Registers of children and adults in school at the time are usually kept in the School Office. It is the responsibility of the office staff to bring the following to the assembly point if safe:

- Arrival book

- Visitors book

- Staff signing book

- Children collected book

- Asbestos File

- Evacuation of the building should in most instances be via the nearest designated Fire Exit. The designated assembly point is on the rear playground.

- A roll call of their designated class should be taken by teachers immediately when they arrive at the assembly point and any pupils not accounted for reported to the most senior member of staff present.

- The all clear will be signalled to staff and then everyone will return to the building in an orderly manner.

- The drill will be timed and recorded by the Headteacher.

Please note that:

- entering a smoke filled building to search for missing persons should never be attempted;

- searching for missing children should never be tackled alone or without the knowledge of someone who is to remain outside the building during the search;

- The decision whether or not to search a building may only be taken by the most senior member of staff on duty.

## FIRE DRILL

DISCOVERY: Raise the ALARM by breaking the glass panel of the alarm switch or by telling an adult.

ALARM SIGNAL: Continuous ringing of an electric bell.

ACTION: Children should leave the building by the safest possible route. The first responsibility of teachers is to the children who are nearest at the time. Ensure that all children leave the building and are supervised to the assembly point.

ASSEMBLY POINT: The rear playground (All classes)

ROLE CALL: Teachers should check that all children in their care are accounted for and report immediately anyone who is missing to the most senior teacher present.

## ELECTRICAL EQUIPMENT

Staff are reminded that the use of personal appliances is prohibited unless they have been subjected to electrical safety PAT test.

## CONTRACTORS

When the employees of another employer work in the premises they should be provided with adequate fire instructions and information. In addition when necessary their employer should be given appropriate information on the fire risks and precautions present.

## FIRE PROCEDURES

The school is fitted with a fire alarm system and this should be activated by anyone who discovers a fire. The alarm is sounded by the use of the ‘PRESS HERE’ red boxes situated at the points detailed below. Also detailed below are the positions of the fire extinguishers available for use. These may be used by members of staff only after all pupils have been evacuated from the building.

The building should be evacuated as follows:-

(Amended November 2023 as school now has 4 classes)

Pre-school and reception (Class 1) staff and children should exit the classroom via the rear doors and make their way onto the rear yard.

Year 1/2 (Class 2) should leave via the classroom outside fire door and out onto the rear playground.

The Year 3/4 class (Class 3) should leave via the outside classroom door and out onto the rear yard.

Year 5/6  ( Class 4) should leave via the classroom entrance and exit via the corridor and out of the rear school doors onto the rear yard.

Lunchtime arrangements:

Welfare staff will direct the children to the rear playground if the children are still eating in the hall. All pupils will assemble on the rear playground. Staff will exit to the rear playground and the office staff will bring registers. Teachers will make a roll call and report to Fire Wardens Mr  Reynolds and Mrs Brown.

All staff must ensure that they sign in and out so a staff register can be taken. This includes leaving the building at lunchtimes. Staff register should be checked along with pupil registers.

Registers will be returned to the school office after AM and PM registration is carried out.  Mrs Manzoor will be responsible for bringing registers out to the assembly point and handing out to class teachers. The Head teacher will account for all children and staff on the rear yard.

All doors and windows must be closed on exiting the classroom.

Each teacher will need to be aware of pupils in their class who may be elsewhere e.g. working with support staff/parent helpers, visiting the toilet, and ensure they are evacuated.

Kitchen staff and welfare staff in the hall exit to the rear playground by the fire doors and assemble on the rear playground.

If the alarm sounds when a class is working in the hall then the hall should be evacuated by the door leading to the rear of the school and the pupils should then assemble on the rear playground with the other pupils.

‘PRESS HERE’ BOXES - ALL WALL MOUNTED

- In front porch area next to office hatch.

- In junior classroom near classroom door.

- Half way along ‘entrance’ corridor near to ramped area.

- Next to rear playground back doors in the corridor.

- In rear classroom next to external door.

- In the staffroom.

- In the boiler house.

FIRE EXTINGUISHERS + FIREBLANKETS

- Wall mounted – Junior classroom on the porch wall– CO2 FILLED.

- On a stand - next to Cock Robin nursery and HT office – x1 WATER,  x1 CO2 FILLED.

- Wall mounted - next to infant toilets in corridor – x1 FOAM, x1 CO2 FILLED,.

- Boiler house- floor standing - CARBON DIOXIDE FOR ELECTRICAL & LIQUID FIRES.

- Cock Robin Nursery – wall mounted next to rear doors–

- Staff room – wall mounted – x1 CO2, x1 FOAM FILLED, plus fire blanket

- Boiler house – wall mounted - Dry Powder

Fire blanket also attached to trolley for the portable cooker.

KITCHEN

Kitchen staff should evacuate the kitchen on hearing the alarm and assemble on the back playground with the pupils and staff.

Located in the kitchen are:-

Two wall mounted fire extinguishers (powder) and a fire blanket for use in the kitchen.

If a fire begins in the kitchen this must be reported to the school office immediately so that appropriate action can be taken.

First aid boxes are available in school if required by kitchen staff. STAFF RESPONSIBILITY

Ensure you are familiar with the position of alarm activation points and fire extinguishers. Remember that in the event of a fire your evacuation point may be blocked by the fire and you will quickly need to decide on your point of exit.

Ensure also that pupils are familiar with these procedures and know what to do in the event of a fire.